ABSTRACT

Context: Sub-Saharan Africa faces a severe ambient air quality monitoring deficit due to the prohibitive capital and maintenance costs of regulatory-grade stations. While low-cost optical particle counters (such as the QuantAQ Modulair-PM) offer a scalable alternative, their factory calibrations fail drastically under tropical West African conditions due to high-humidity hygroscopic aerosol swelling and heavy coarse mineral dust loadings during the dry Harmattan season.

Aim: To develop, evaluate, and deploy a physics-informed, non-overfitting machine learning calibration framework that corrects raw QuantAQ Modulair-PM sensor measurements to achieve reference-grade ambient PM₂.₅ monitoring accuracy against a co-located US EPA Federal Equivalent Method (FEM) Teledyne API T640 monitor in Accra, Ghana.

Method: Hourly co-located data (2024–2025) collected at the African Clean Air Technology Centre (Afri-SET), University of Ghana, Legon, was preprocessed and transformed into a 75-dimensional feature space. This feature vector incorporated multi-gamma empirical Köhler hygroscopic swelling curves f(RH, γ), thermodynamic moisture parameters (Absolute Humidity, Vapor Pressure Deficit, Dew Point depression), multi-window EWMA time-series trends (1h–24h), circular temporal harmonics, and seasonal Harmattan dust indicators. A Stacked Physics-Informed Meta-Ensemble (SPIME v4) was developed using 5-Fold out-of-fold cross-validation across four diverse base learners (Random Forest, ExtraTrees, LightGBM, HistGradientBoosting) stacked through an L₂-regularized RidgeCV meta-regressor, validated on an unseen 6-month out-of-sample holdout dataset (3,468 hourly records).

Result: Uncalibrated factory sensor outputs failed completely (R² = -0.0133, MAE = 5.30 μg/m³), while baseline linear regression (R² = 0.6760) and deep neural networks (R² ≈ 0.49–0.52) exhibited poor accuracy and noise memorization. The proposed SPIME v4 model achieved state-of-the-art reference-grade performance on the unseen holdout dataset with R² = 0.9632 (R² = 0.9732 on test split), MAE = 0.61 μg/m³ (a 66.3% error reduction over previous models), RMSE = 1.23 μg/m³, and a near-zero generalization overfitting gap (-0.0002). Feature attribution confirmed that Köhler growth formulations and absolute humidity accounted for over 35% of model predictive power.

Conclusion: Integrating empirical aerosol hygroscopic physics with out-of-fold meta-ensemble stacking effectively eliminates sensor degradation and overfitting across extreme monsoon humidity and Saharan dust conditions. The resulting SPIME v4 pipeline delivers regulatory-grade PM₂.₅ monitoring capability, establishing a reliable, low-cost solution for air quality surveillance and environmental policy in Sub-Saharan Africa.

Keywords: Low-cost air quality sensors, PM₂.₅ calibration, Machine learning meta-ensemble, Köhler growth theory, Harmattan dust, Sub-Saharan Africa.

LIST OF FIGURES

| Figure | Caption / Description |
| --- | --- |
| Figure 1.1 | Afri-SET Co-location Facility and Ambient Monitoring Platform at the Department of Physics, University of Ghana, Legon. |
| Figure 2.1 | Working Principle of Optical Particle Counters (OPC) based on Mie Light Scattering Theory. |
| Figure 2.2 | Aerosol Hygroscopic Particle Growth and Deliquescence Threshold Curve under Elevated Relative Humidity. |
| Figure 2.3 | Seasonal Meteorological Dynamics in West Africa: Monsoon Wet Season vs. Dry Saharan Harmattan Dust Transport. |
| Figure 3.1 | Geographic Co-location Site at Afri-SET, University of Ghana, Legon (5.6512° N, -0.1855° W). |
| Figure 3.2 | End-to-End Machine Learning Calibration Pipeline Architecture for Low-Cost Modulair-PM Sensors. |
| Figure 3.3 | Scatter Plot of Raw Modulair-PM PM₂.₅ Concentrations vs. Reference Teledyne API T640 Measurements across Calendar Months. |
| Figure 3.4 | Hourly Time-Series Comparison of Raw Low-Cost Sensor PM₂.₅ and Reference Teledyne T640 Data. |
| Figure 3.5 | Multi-Gamma Köhler Hygroscopic Growth Curves f(RH, γ) across Exponents γ ∈ [0.05, 0.50]. |
| Figure 3.6 | Stacked Physics-Informed Meta-Ensemble (SPIME v4) Architecture showing Level 0 Base Learners and Level 1 RidgeCV Meta-Learner with 5-Fold OOF Stacking. |
| Figure 3.7 | Chronological Train-Test and Unseen 6-Month Out-of-Sample Holdout Validation Partition Scheme. |
| Figure 4.1 | Scatter Plot of Actual Teledyne T640 Reference PM₂.₅ vs. SPIME v4 Calibrated PM₂.₅ Predictions on 6-Month Unseen Holdout Data. |
| Figure 4.2 | Time-Series Tracking of Calibrated PM₂.₅ Predictions against Ground Truth Reference Measurements (Subset). |
| Figure 4.3 | Comparative Time-Series Prediction Performance: Multi-Layer Perceptron (MLP) Neural Network vs. Random Forest vs. SPIME v4 Meta-Ensemble. |
| Figure 4.4 | Top 20 Feature Importance Rankings Extracted from SPIME v4 Base Estimators highlighting Köhler Physics and Thermodynamic Predictors. |
| Figure 4.5 | Residual Error Histogram and Kernel Density Estimation (KDE) Distribution for the Calibrated SPIME v4 Model. |
| Figure 4.6 | Quantile-Quantile (Q-Q) Plot of Standardized Calibration Residuals against Theoretical Normal Quantiles. |
| Figure 4.7 | Homoscedasticity Diagnostic Plot: Calibration Model Residuals vs. Predicted PM₂.₅ Concentrations. |

LIST OF TABLES

| Table | Caption / Description |
| --- | --- |
| Table 1.1 | Comparison of Reference-Grade Regulatory Particulate Monitors and Low-Cost Optical Particle Counters. |
| Table 2.1 | Summary of Literature on Machine Learning Calibration Algorithms for Low-Cost Air Quality Sensors (2017–2025). |
| Table 3.1 | Technical Specifications and Measurement Parameters of the QuantAQ Modulair-PM (Unit MOD-PM-01068). |
| Table 3.2 | Technical Specifications and Operating Parameters of the Teledyne API T640 Reference Monitor. |
| Table 3.3 | Systematic Summary of the 75 Engineered Physics-Informed, Thermodynamic, and Cyclical Temporal Features. |
| Table 3.4 | Optimal Hyperparameter Configurations for SPIME v4 Level 0 Base Estimators and Level 1 Meta-Learner. |
| Table 4.1 | Comparative Performance Metrics on Out-of-Sample Holdout Data (3,468 Unseen Hourly Samples across 6 Models). |
| Table 4.2 | Seasonal Performance Breakdown: Model Calibration Accuracy during Monsoon Wet Season vs. Harmattan Dry Season. |
| Table 4.3 | Generalization and Overfitting Gap Diagnostics (R²_train - R²_test) across Linear, Neural, and Meta-Ensemble Paradigms. |

LIST OF ABBREVIATIONS

| Abbreviation / Acronym | Full Meaning / Description |
| --- | --- |
| Afri-SET | African Clean Air Technology Centre |
| AH | Absolute Humidity (g/m³) |
| AI | Artificial Intelligence |
| ANN | Artificial Neural Network |
| API | Advanced Pollution Instrumentation / Application Programming Interface |
| BAM | Beta Attenuation Monitor |
| CO | Carbon Monoxide |
| COPD | Chronic Obstructive Pulmonary Disease |
| CV | Cross-Validation |
| DRH | Deliquescence Relative Humidity |
| EPA | Environmental Protection Agency (United States) |
| ET | ExtraTrees (Extremely Randomized Trees) |
| EWMA | Exponentially Weighted Moving Average |
| FEM | Federal Equivalent Method (US EPA) |
| FRM | Federal Reference Method (US EPA) |
| GBDT | Gradient Boosted Decision Trees |
| HistGB | Histogram-Based Gradient Boosting Regressor |
| IQR | Interquartile Range |
| KDE | Kernel Density Estimation |
| LCS | Low-Cost Sensor(s) |
| LED | Light Emitting Diode |
| LightGBM | Light Gradient Boosting Machine |
| LLM | Large Language Model / Deep Neural LLM Regressor |
| MAE | Mean Absolute Error (μg/m³) |
| ML | Machine Learning |
| MLP | Multi-Layer Perceptron |
| MLR | Multiple Linear Regression |
| MOD-PM | Modulair Particulate Matter Sensor Unit |
| MSE | Mean Squared Error |
| NO₂ | Nitrogen Dioxide |
| NOₓ | Nitrogen Oxides |
| O₃ | Ozone |
| OOF | Out-of-Fold |
| OPC | Optical Particle Counter |
| PM | Particulate Matter |
| PM₁ | Particulate Matter with aerodynamic diameter ≤ 1.0 μm |
| PM₂.₅ | Particulate Matter with aerodynamic diameter ≤ 2.5 μm |
| PM₁₀ | Particulate Matter with aerodynamic diameter ≤ 10 μm |
| Q-Q | Quantile-Quantile |
| Q1 / Q3 | First Quartile (25th percentile) / Third Quartile (75th percentile) |
| R² | Coefficient of Determination |
| RF | Random Forest |
| RH | Relative Humidity (%) |
| RidgeCV | Ridge Regression with Built-in Cross-Validation |
| RMSE | Root Mean Squared Error (μg/m³) |
| SLR | Simple Linear Regression |
| SPIME | Stacked Physics-Informed Meta-Ensemble |
| SSA | Sub-Saharan Africa |
| T_dew | Dew Point Temperature (°C) |
| UTC | Coordinated Universal Time |
| VPD | Vapor Pressure Deficit (kPa) |
| WHO | World Health Organization |
| XGBoost | Extreme Gradient Boosting |